## Slide 1: Design of battery charges using solar system
Submitted by
Priya Dharshini.S
Rajeswari.P
Sathiya Priya.s
Sofi.D
Sofia.S
Sharmini Sakthi.C.M
Velammal College of engineering and technology Madurai
(Autonomous)
Department of EEE

## Slide 2: Objectives
Solar battery charger operate in various sunlight condition.
It also operate for a wide variety of input voltages.
It can be further used in sunny and cloudy days.
It can be used in a range from 6.8V to 13.5 V.
Charge both lithum and nickel chemistries.

## Slide 3
Introduction
Solar battery chargers are devices that extract energy from the sunlight to produce electricity for charging cell phones, car batteries , laptops, personal fans, and reading lights.
The best part about these solar battery chargers is that they are portable. So, they can be used anywhere and anytime.
A solar battery allows you to continue powering your home with renewable solar energy during the evening and at night when the solar panels are not suitable to produce power from the sun.
Solar chargers can charge lead acid or Ni-Cd battery banks up to 48 V and many ampere-hours (up to 4000 Ah) capacity.
Most portable chargers can obtain energy from the sun only.

## Slide 4
Problem Identification
Solar batteries have a feature called deep cycle recharge, and it helps to store energy for a long time.
Solar batteries are less harmful and less hazardous than any regular battery.
It uses a clean, renewable source of energy, the sun. Cost-efficient.
Solar Power Maximizes Battery Life. Solar panels generate pure D.C. electricity when exposed to sunlight. ...
A battery that is drained or can’t hold a proper charge is one of the most widespread problems across all automobiles.

## Slide 5: Block Diagram
SOLAR PANEL
VOLTAGE REGULATOR
BATTERY
SOLAR BATTERY CHARGING INDICATOR
LOAD
ADAPTER UNIT

## Slide 6
Work Accomplished
# Batteries are energy limited and require recharging.Recharging batteries with so can offer a convenient option for smart consumer electronics.
# Batteries can be used to address the intermittency concern of photovoltaics.
# Conventional design of solar charging batteries involves the use of batteries and solar modules as two separate units connected by electric wires.
#Advanced design involves the integration of in situ battery storage in solar modules, thus offering compactness and fewer packaging requirements with the potential to become less costly.
#This advancement can be advantageous for consumer electronics where space, size, and packaging requirements hold greater value.
#Three major metrics, namely energy density, efficiency, and stability, have been addressed by presenting relevant challenges and potential opportunities.

## Slide 7: Work Plan
From the sunlight by taking the light energy and we can say processing it,we get electrical energy which now can be stored in rechargable batteries that we have.when the batteries get discharged we can recharge them by exposing the kit to sunlight.

## Slide 8: References
[1] Jaber A. Abu Qahouq, Yuncong Jiang, and Mohamed Orab “MPPT Control and Architecture for Solar Panel with Sub-Module Integrated Converters” Journal of Power Electronics, Vol. 14, No. 6, pp. 1281-1292, November 2014.
[2] U. S. Departement of Energy, 2011 Renewable Energy Data Book, http://www.nrel.gov/docs/fy13osti/54909.pdf. Accessed Dec. 2013.